## Live Stock Count
Part Name | Fresh + Repaired Quanity | Faulty Quantity | At Crompton | NO S.L NUMBER
7.5HP DC 30M MONO SOLAR PUMP | 0 | 2 | 4
7.5HP DC 50M MONO SOLAR PUMP | 0
7.5HP DC 70M MONO SOLAR PUMP | 0
7.5HP DC 100M MONO SOLAR PUMP | 1
10HP DC MONO 30M SOLAR PUMP | 0 | 2
10HP DC 50M MONO SOLAR PUMP | 1 |  | 1
10HP DC 70M MONO SOLAR PUMP | 0 | 1
10HP DC 100M MONO SOLAR PUMP | 0
10HP AC 30M MONO SOLAR PUMP | 0 | 5 | 6
10HP AC 50M MONO SOLAR PUMP | 6
10HP AC 70M MONO SOLAR PUMP | 0 | 1
10HP AC 100M MONO SOLAR PUMP | 0
7.5hp Dc Mono Solar Motor | 2 | 5 | 8
10HP AC MONO SOLAR MOTOR | 0 | 21 | 11
10HP Dc Mono Solar Motor | 0 | 8 | 4
7.5HP Dc Mono Solar Controller Power Pcb | 2
10hp Dc Mono Solar Controller Power Pcb | 5 |  | 2
10hp Ac Mono Solar Controller Power Pcb | 10 | 5 | 8
2P 32A 800V DC MCB 7.5/10HP | 30 | 3 |  | NO S.L NUMBER
MC4 PV CABLE CONNECTOR PAIR 1000V | 15 | 13 | 15 | NO S.L NUMBER
3-Pin Cableconnector Pair30A 500V AC | 20 | 11 | 15 | NO S.L NUMBER
Remote Monittoring System 4g+Gps+Dispaly | 43 | 4 | 7
SPPV3T2-1000 DC SPD CLASS II 1000V | 38 | 2 |  | NO S.L NUMBER
PV MODULES | 40
TOGAL SWITCH | 0 |  |  | NO S.L NUMBER
TOTAL

## Faulty Serial Numbers
FAULTY
Enter Serial Numbers in cells below, one by one
10 HP AC MOTOR | 10 HP AC 30 MTR PUMP | 10 HP AC 70 MTR PUMP | 10 HP DC MOTOR | 10 HP DC 30 MTR PUMP | 10 HP DC 50 MTR PUMP | 10 HP DC 70 MTR PUMP | 7.5 HP DC MOTOR | 7.5 HP DC 30 MTR PUMP | POWOR CARD | RMS DISPLAY
LPSA1XC000249 | LPSA1XA000051 | LPSA1XC000412 | LPSA1XK000048 | LPSA1XC000121 | LPSA1WJ000066 | LPSA1WJ000500 | LPSA1XK000045 | LPSA1WJ000049 | B9015052403222 | 864180055052299
LPSA1XC000372 | LPSA1XK000113 |  | LPSA1XC000104 | LPSA1WJ000407 |  |  | LPSA1WJ000004 | LPSA1XA000162 | B9015062402233 | NO NUMBER
LPSA1XG000113 | LPSA1XC000243 |  | LPSA1XK000063 |  |  |  | LPSA1XC000079 | LPSA1WJ000387 | B9015112300680 | 864180055860493
LPSA1XC000369 | LPSA1XC000324 |  | LPSA1WJ000082 |  |  |  | LPSA1WJ000049 | LPSA1WJ000389 | B9015062403117 | 864180057699824
LPSA1YE000142 | LPSA1XC000204 |  | LPSA1WJ000405 |  |  |  | LPSA1WJ000047 | LPSA1XG000011 | B9015062403488 | 862211072870058
LPSA1WJ000441 | LPSA1YE000106 |  | LPSA1WJ000075 |  |  |  | LPSA1WJ000043 | LPSA1YE000052 | B9015062406067 | 864180055052786
LPSA1XA000131 | LPSA1YE000118 |  | LPSA1WJ000301 |  |  |  | LPSA1WJ000005 |  | B9015052400776 | 863877076177465
LPSA1XA000028 | LPSA1XC000154 |  | LPSA1XC000141 |  |  |  | LPSA1WJ000389 |  | B9015102300102 | 865577078927150
LPSA1XK000135 | LPSA1XC000321 |  | LPSA1XK000074 |  |  |  | LPSA1XG000027 |  | NO NUMBER | 867950071909020
LPSA1XG000069 | LPSA1WJ000424 |  | LPSA1XG050033 |  |  |  | LPSA1WJ000026 |  | B9015042400632 | 864180054443531
LPSA1XG050058 | LPSA1XC000249 |  | LPSA1WJ000500 |  |  |  | LPSA1YE000052 |  | H8020102300355 | 864180054431239
LPSA1WJ000414 |  |  | LPSA1WJ000083 |  |  |  | LPSA1XG000011 |  | B9015062403002
LPSA1XC000448 | [6 empty] | LPSA1XC000049 |  | B9015032513589
LPSA1WJ000192 | [8 empty] | B9015112301689
LPSA1XC000207
LPSA1YE000118
LPSA1YE000132
LPSA1XC000422
LPSA1XC000154
LPSA1XC000321
LPSA1WJ000193
LPSA1XA000048
LPSA1XG000170
LPSA1WJ000436
LPSA1XG050044
LPSA1WJ000369
LPSA1XK000152
LPSA1YE050011
LPSA1XG000142
LPSA1YE000095
LPSA1XK000096
LPSA1XK000125

## Fresh Serial Numbers
POWOR CARD | RMS DISPLAY | 7.5 HP DC MOTOR | 7.5 HP DC30 MTR PUMP | 10 HP AC30 MTR PUMP | 10 HP DC 70 MTR PUMP | 10 HP AC 50 MTR PUMP | 10 HP DC 50 MTR PUMP | 10 HP DC MOTOR | 7.5 HP DC100 MTR PUMP | POWOR CARD
B9015202405629 | 864180054424747 | LPSA1XG050020 | LPSA1XG050001 | LPSA1WJ000150 | LPSA1XC000105 | LPSA1XK000097 | LPSA1XA000182 | LPSA1XA000023 | LPSA1XG050004 | 6 NOS NO NUMBER
B9015052502914 | 862211074110222 | LPSA1WJ000019 |  | LPSA1WJ000122 |  | LPSA1XK000158 | LPSA1XA000339
B9015052502772 | 867409074382446 |  |  |  |  | LPSA1XG050014
B9015082404989 | 862211074111956 |  |  |  |  | LPSA1WJ000448
B9015082405327 | 864180055027085 |  |  |  |  | LPSA1XC000173
B9015012511002 | 864180057666153 |  |  |  |  | LPSA1XA000053
309526003546 | 861657072345221
B9015052502774 | 864180057750155
H8020012220017 | 864180057689874
P8020052201470 | 864180055029214
B9015062403150 | 864180054435933
B9015022406541 | 865577078968493
B9015052502709 | 862211071696777
B9015052501413 | 862211072889488
B9015052501377 | 864180057741584
B9015072403691 | 864180055026079
B9015122513115 | 864180055024306
B9015122513113 | 863877076174553
P8020052201460 | 860617089486542
H8020042300002 | 864180054444818
P8020052201484 | 869833080105053
P8020052201479 | 860617089504746
P8020052201481 | 869833080104973
H8020072200259 | 869833080101029
864180057724648
864180055903913
869833080126943
869833080101664
860617089471965
869833080104866
869833080100583
869833080082898
860617089473805
869833080104668
864180054432062
869833080105327
869833080100237
860617089477384
869833080082690
869833080082401
869833080127289
860617089486542
869833080100260

## At Crompton
10 HP AC MOTOR | 10 HP AC 30 MTR PUMP | 10 HP DC MOTOR | 10 HP DC 50 MTR PUMP | 7.5 HP DC MOTOR | 7.5 HP DC 30 MTR PUMP | POWER CARD | RMS
LPSA1XC000249 | LPSA1XA000051 | LPSA1XK000048 | LPSA1WJ000066 | LPSA1XK000045 | LPSA1WJ000049 | B9015052403222 | 864180055052299
LPSA1XC000372 | LPSA1XK000113 | LPSA1XC000104 |  | LPSA1WJ000004 | LPSA1XA000162 | B9015062402233 | NO NUMBER
LPSA1XG000113 | LPSA1XC000243 | LPSA1XK000063 |  | LPSA1XC000079 | LPSA1WJ000387 | B9015112300680 | 864180055860493
LPSA1XC000369 | LPSA1XC000324 | LPSA1WJ000082 |  | LPSA1WJ000049 | LPSA1WJ000389 | B9015062403117 | 864180057699824
LPSA1YE000142 | LPSA1XC000204 |  |  | LPSA1WJ000047 |  | B9015062403488 | 862211072870058
LPSA1WJ000441 | LPSA1YE000106 |  |  | LPSA1WJ000043 |  | B9015062406067 | 864180055052786
LPSA1XA000131 |  |  |  | LPSA1WJ000005 |  | B9015052400776 | 863877076177465
LPSA1XA000028 |  |  |  | LPSA1WJ000389 |  | B9015102300102
LPSA1XK000135 | [5 empty] | NO NUMBER
LPSA1XG000069 | [5 empty] | B9015042400632
LPSA1XG050058