## Live Stock Count
Part Name | Fresh + Repaired Quanity | Faulty Quantity | At Crompton | NO S.L NUMBER
3HP Dc Mono Solar Motor | 43
3HP DC 30M MONO SOLAR PUMP | 70
3HP DC 50M MONO SOLAR PUMP
3HP DC 70M MONO SOLAR PUMP | 5
5HP Dc Mono Solar Motor | 8
5HP DC 30M MONO SOLAR PUMP | 10
5HP DC 50M MONO SOLAR PUMP
5HP DC 70M MONO SOLAR PUMP | 19
5HP DC 100M MONO SOLAR PUMP
7.5hp Dc Mono Solar Motor | 11
7.5HP DC 30M MONO SOLAR PUMP | 9
7.5HP DC 50M MONO SOLAR PUMP
7.5HP DC 70M MONO SOLAR PUMP
7.5HP DC 100M MONO SOLAR PUMP
7.5HP Dc Mono Solar Controller Power Pcb | 3
5HP Dc Mono Solar Controller Power Pcb | 16
3HP Dc Mono Solar Controller Power Pcb | 30
2P 32A 800V DC MCB 7.5/10HP | 1
2P 16A 500V DC MCB 3HP/5HP | 94
MC4 PV CABLE CONNECTOR PAIR 1000V | 23
MC4 PANEL CONNECTOR
3-Pin Cableconnector Pair30A 500V AC | 20
Remote Monittoring System 4g+Gps+Dispaly | 160
SPPV3T2-1000 DC SPD CLASS II 1000V | 3
TX-DC-600V-40T2 DC SPD CLASS ¦¦ 600V | 73
TOGGLE SWITCH
SWITCH BUTTON
PCB-DISPLAY JUMPER WIRE
RMS-DISPLAY JUMPER WIRE
AC SPD | 5
PANEL | 140

## Faulty Serial Numbers
FAULTY
Enter Serial Numbers in cells below, one by one
10 HP AC MOTOR | 10 HP AC 30 MTR PUMP | 10 HP AC 70 MTR PUMP | 10 HP DC MOTOR | 10 HP DC 30 MTR PUMP | 10 HP DC 50 MTR PUMP | 10 HP DC 70 MTR PUMP | 7.5 HP DC MOTOR | 7.5 HP DC 30 MTR PUMP | POWOR CARD | RMS DISPLAY

## Fresh Serial Numbers
3HP Dc Mono Solar Motor | 3HP DC 30M MONO SOLAR PUMP | 3HP DC 70M MONO SOLAR PUMP | 5HP Dc Mono Solar Motor | 5HP DC 30M MONO SOLAR PUMP | 5HP DC 70M MONO SOLAR PUMP | 7.5hp Dc Mono Solar Motor | 7.5HP DC 30M MONO SOLAR PUMP | 7.5HP POWOR CARD | 5HP POWOR CARD | 3HP POWOR CARD
LPSA1XI000047 | LPSA1YL050065 | LPSA1YA000352 | LPSA1XL000549 | LPSA1XH000341 | LPSA1XL000201 | LPSA1XE000448 | LPSA1YE000300 | B9015052502818 | B4515122593128 | B45052520536
LPSA1YL050021 | LPSA1YL050085 | LPSA1XL000447 | LPSA1XI000335 | LPSA1YL050129 | LPSA1XL050007 | LPSA1XF000520 | LPSA1XF000504 | B9015072403859 | B45122440036 | B45150126109109
LPSA1YA000743 | LPSA1YL050083 | LPSA1YH000852 | LPSA1YB000767 | LPSA1YL050119 | LPSA1YB000215 | LPSA1XJ000334 | LPSA1XL000236 | 6411 | B45112432560 | B45062411896
LPSA1YA000200 | LPSA1YL050084 | LPSA1XF000353 | LPSA1… | LPSA1YA000379 | LPSA1XL050010 | LPSA1YA000551 | LPSA1XL000628 |  | B4515092558528 | B45112430996
LPSA1YI000553 | LPSA1YL050098 | LPSA1ZF000293 | LPSA1YA…. | LPSA1YL050114 | LPSA1XL000199 | LPSA1YE000297 | LPSA1YA000316 |  | B45112431068 | B4515072535983
LPSA1YL050036 | LPSA1YL050074 |  | LPSA1ZF000295 | LPSA1YL050131 | LPSA1YB000259 | LPSA1…... | LPSA1XF000509 |  | B45102428229 | B45062410250
LPSA1XE000149 | LPSA1YL050094 |  | LPSA1ZF000294 | LPSA1XI000246 | LPSA1YB050043 | LPSA1XI000825 | LPSA1ZF000299 |  | B45072418245 | B45062410773
LPSA1YA000184 | LPSA1YL050078 |  | LPSA1ZF000296 | LPSA1YA000351 | LPSA1XL000194 | LPSA1XJ000340 | LPSA1ZF000297 |  | B45052518341 | B45150126104865
LPSA1YL050005 | LPSA1YL050093 |  |  | LPSA1ZF000295 | LPSA1XJ000699 | LPSA1ZF000299 | LPSA1ZF000298 |  | B45062410255 | B4515072535216
LPSA1YL050019 | LPSA1YL050092 |  |  | LPSA1ZF000294 | LPSA1XJ050014 | LPSA1ZF000297 |  |  | B4515082546061 | B45032566885
LPSA1XI000663 | LPSA1YL050088 |  |  |  | LPSA1XJ050015 | LPSA1ZF000298 |  |  | B45032567673 | B45102430390
LPSA1YF070218 | LPSA1YL050068 |  |  |  | LPSA1YK050027 |  |  |  | B4515082543065 | B45012549698
LPSA1XF000157 | LPSA1YL050100 |  |  |  | LPSA1YB000783 |  |  |  | B45012551043 | B45112431038
LPSA1XL000160 | LPSA1YL050090 |  |  |  | LPSA1XJ050012 |  |  |  | B45240311299 | B45122440060
LPSA1XL000356 | LPSA1YL050075 |  |  |  | LPSA1XL050039 |  |  |  | B45032561441 | B45072413643
LPSA1XL000488 | LPSA1YL050101 |  |  |  | LPSA1YI000669 |  |  |  | B45PV015M305240400057 | B45022557875
LPSA1YA000124 | LPSA1YL050073 |  |  |  | LPSA1XI000741 |  |  |  |  | B45122440108
LPSA1YE000087 | LPSA1YL050066 |  |  |  | LPSA1XJ050013 |  |  |  |  | B45102430121
LPSA1XE000169 | LPSA1YL050096 |  |  |  | LPSA1ZF000296 |  |  |  |  | B45150126109097
LPSA1XI000618 | LPSA1YL050097 | [8 empty] | B45P015M305240103683
LPSA1XF000281 | LPSA1YL050076 | [8 empty] | B45112430981
LPSA1XH000536 | LPSA1YL050095 | [8 empty] | B45XXXXXXXX
LPSA1XE000176 | LPSA1YL050102 | [8 empty] | B45072413633
LPSA1YF070538 | LPSA1YL050099 | [8 empty] | B45122440024
LPSA1XI000671 | LPSA1YL050089 | [8 empty] | B45072414401
LPSA1XF000012 | LPSA1YL050081 | [8 empty] | B45012547036
LPSA1….... | LPSA1YL050080 | [8 empty] | B45072413529
LPSA1XF000353 | LPSA1YL050064 | [8 empty] | B4515072536926
LPSA1….... | LPSA1YL050069 | [8 empty] | B45122439512
LPSA1… | LPSA1YL050077 | [8 empty] | B45072532790
LPSA1… | LPSA1YK050005
LPSA1YF000558 | LPSA1XL050031
LPSA1YI000530 | LPSA1XL050024
LPSA1XH000433 | LPSA1YL050082
LPSA1Y..000302 | LPSA1YL050079
LPSA1YF000846 | LPSA1YL050067
LPSA1YA000661 | LPSA1YK050016
LPSA1XH000249 | LPSA1YL050071
LPSA1YF000.87 | LPSA1YK050020
LPSA1YA000252 | LPSA1YK050015
LPSA1YJ000063 | LPSA1YK050017
LPSA1ZF000292 | LPSA1YK050023
LPSA1ZF000293 | LPSA1YG050004
LPSA1YK050018
LPSA1YL050091
LPSA1YK050021
LPSA1YK050022
LPSA1YB050029
LPSA1XL050032
LPSA1XJ050056
LPSA1YB050032
LPSA1YK050019
LPSA1YA050003
LPSA1YA050040
LPSA1YA050037
LPSA1YC050009
LPSAY1B050034
LPSA1YA050041
LPSA1SK050001
LPSA1SK050004
LPSA1YB050026
LPSA1XL050003
LPSA1YA000200
LPSA1YG050020
LPSA1XL050002
LPSA1YA050033
LPSA1YA000592
LPSA1XJ000381
LPSA1XI000458
LPSA1ZF000292

## At Crompton
10 HP AC MOTOR | 10 HP AC 30 MTR PUMP | 10 HP DC MOTOR | 10 HP DC 50 MTR PUMP | 7.5 HP DC MOTOR | 7.5 HP DC 30 MTR PUMP | POWER CARD | RMS