## Live Stock Count
Part Name | Fresh + Repaired Quanity | Faulty Quantity | At Crompton | NO S.L NUMBER
7.5HP DC 30M MONO SOLAR PUMP | 1
7.5HP DC 50M MONO SOLAR PUMP
7.5HP DC 70M MONO SOLAR PUMP
7.5HP DC 100M MONO SOLAR PUMP | 1
7.5HP AC 30M MONO SOLAR PUMP | 1
7.5HP AC 50M MONO SOLAR PUMP | 1
7.5HP AC 70M MONO SOLAR PUMP
7.5HP AC 100M MONO SOLAR PUMP
5HP DC 30M MONO SOLAR PUMP | 4
5HP DC 50M MONO SOLAR PUMP | 2
5HP DC 70M MONO SOLAR PUMP
5HP DC 100M MONO SOLAR PUMP |  |  | 3
5HP AC 30M MONO SOLAR PUMP | 2
5HP AC 50M MONO SOLAR PUMP | 1
5HP AC 70M MONO SOLAR PUMP |  |  | 3
5HP AC 100M MONO SOLAR PUMP | 1 |  | 4
3HP DC 30M MONO SOLAR PUMP
3HP DC 50M MONO SOLAR PUMP
3HP DC 70M MONO SOLAR PUMP
3HP AC 30M MONO SOLAR PUMP
3HP AC 50M MONO SOLAR PUMP | 2
3HP AC 70M MONO SOLAR PUMP | 2
7.5HP DC MONO SOLAR MOTOR | 2
7.5HP AC MONO SOLAR MOTOR | 3 | 1 | 1
5HP DC MONO SOLAR MOTOR | 7 | 1 | 1
5HP AC MONO SOLAR MOTOR | 3 | 1 | 11
3HP DC MONO SOLAR MOTOR | 1
3HP AC MONO SOLAR MOTOR | 2 | 1 | 1
7.5HP DC MONO SOLAR CONTROLLER POWER CARD | 1
7.5HP AC MONO SOLAR CONTROLLER POWER CARD |  |  | 1
5HP DC MONO SOLAR CONTROLLER POWER CARD | 4
5HP AC MONO SOLAR CONTROLLER POWER CARD | 12
3HP DC MONO SOLAR CONTROLLER POWER CARD |  | 1
3HP AC MONO SOLAR CONTROLLER POWER CARD |  |  | 2
2P 32A 800V DC MCB 7.5/10HP | 1 |  | 2
2P 16A 500V DC MCB 3/5HP | 10 | 1 | 2
MC4 PV CABLE CONNECTOR PAIR 1000V | 9
3-Pin Cableconnector Pair30A 500V AC | 6 | 1
Remote Monittoring System 4g+Gps+Dispaly | 17
SPPV3T2-1000 DC SPD CLASS II 1000V | 2 |  | 1
PV MODULES
TOGAL SWITCH
TOTAL | 98 | 7 | 32

## Faulty Serial Numbers
FAULTY
Enter Serial Numbers in cells below, one by one
7.5 HP AC MOTOR | 5 HP AC MOTOR | 5 HP DC MOTOR | 3 HP DC MOTOR | 3 HP AC MOTOR | 3 PIN CABLE CONNECTOR | 3 HP DC POWOR CARD | 5 HP AC POWER CARD | RMS DISPLAY
LPSA1YH001012 | LPSA1XK000223 | LPSA1YJ000006 |  | LPSA1XJ000748 |  | B45012552323

## Fresh Serial Numbers
5 HP POWOR CARD | 7.5 HP POWER CARD | RMS DISPLAY | 7.5 HP DC MOTOR | 7.5 HP AC MOTOR | 5 HP DC MOTOR | 5 HP AC MOTOR | 3 HP DC MOTOR | 3 HP AC MOTOR | 7.5 HP DC HEAD 100M PUMP | 7.5 HP DC HEAD 30M PUMP | 7.5 HP AC HEAD 50M PUMP | 7.5 HP AC HEAD 30M PUMP | 5 HP DC HEAD 50M PUMP | 5 HP DC HEAD 30M PUMP | 5 HP AC HEAD 100M PUMP | 5 HP AC HEAD 50M PUMP | 5 HP AC HEAD 30M PUMP | 3 HP AC HEAD 70M PUMP | 3 HP AC HEAD 50M PUMP
B45072413557 | B9015092508160 |  | LPSA1YE050031 | LPSA1YE000356 | LPSA1YH000925 | LPSA1YG000421 | LPSA1ZA000202 | LPSA1XK000198 | LPSA1XJ000804 | LPSA1YE050033 | LPSA1YL050149 | LPSA1YL050148 | LPSA1YJ050008 | LPSA1YF000366 | LPSA1YG000429 | LPSA1YJ000027 | LPSA1YG000394 | LPSA1YK000198 | LPSA1XJ000746
B45022558511 |  |  | LPSA1XF000003 | LPSA1XJ000786 | LPSA1YJ000013 | LPSA1XK000221 |  | LPSA1YC050003 |  |  |  |  | LPSA1XK050026 | LPSA1YL050147 |  |  | LPSA1YG000403 | LPSA1YG050027 | LPSA1XK050025
B45032561579 |  |  |  | LPSA1YE000361 | LPSA1YJ050002 | LPSA1YJ000058 | [7 empty] | LPSA1YJ050006
B45012552982 |  |  |  |  | LPSA1YE000368 | [8 empty] | LPSA1YE050032
B45150326141094 |  |  |  |  | LPSA1YG000490
TIT26200277 |  |  |  |  | LPSA1YC050004
B45092424967 |  |  |  |  | LPSA1YJ050003
B45P15R072416558
B45062411866
B45112431818
B45P15M052404556
B45150326141121
B45150326141090
B45150326141083
B45150326141079
B45150326141085

## At Crompton
7.5HP AC MONO SOLAR MOTOR | 5HP AC MONO SOLAR MOTOR | 5HP DC MONO SOLAR MOTOR | 3HP AC MONO SOLAR MOTOR | 3HP AC MONO SOLAR CONTROLLERPOWER PCB | 5HP AC 100M MONO SOLAR BARE PUMP | 5HP AC 70M MONO SOLAR BARE PUMP | 5HP DC 100M MONO SOLAR BARE PUMP | 7.5HP AC MONO SOLAR CONTROLLER POWER PCB
LPSA1YE000354 | LPSA1YE000335 | LPSA1YG000501 | LPSA1YG000387 | B45102430113 | LPSA1YJ000042 | LPSA1YG000413 | LPSA1YG000508 | B9015072504726
| LPSA1XK000254 |  |  | B45012552326 | LPSA1YJ000055 | LPSA1YJ000037 | LPSA1YJ000012
| LPSA1YG050025 |  |  |  | LPSA1YG000423 | LPSA1YJ000035 | LPSA1YJ000011
| LPSA1XJ000755 |  |  |  | LPSA1YJ000048
LPSA1XJ000773
LPSA1YG000423
LPSA1ZA000228
LPSA1YG000403
LPSA1XJ000765
LPSA1XJ000779
LPSA1YG000418